Using a DVOM

The DMM or DVOM

· Reads Volts, Amps, or Ohms

· Can read temperature

· Frequency

· Perhaps the most useful tool!!!

· (Next to your brain) 

[image: image1.png]« Display {.... .,._.‘,
« Buttons \

* Knob

« Jacks




[image: image2.png]» Display Must Show DC oo ..,...._‘}
« Can Read AC or DC S [
* Set Knob to Volts |

» Neg (-) Black Lead
* Pos (+) Red Lead
e





[image: image3.png]* Read Across the circuit
* Read Across the load (drop)




[image: image4.png]



[image: image5.png]» Display Must Show Ohms §-<= """"}‘
- Ohms/Cont./Diode ECCLN
» Set Knob to Ohm i

* Neg (-) Black Lead
* Pos (+) Red Lead
e




[image: image6.png]* ALWAYS DISCONNECT CIRCUIT
POWER!
* You will damage meter

* NEVER test for voltage while in the
Ohms setting!

» Can also check continuity (good for
fuses and broken wires)



[image: image7.png]« Will Must Show DC = ...,..m‘}
» Set Knob to Amps

- MUST SWITCH LEADS! & ©

* Neg (-) Black Lead
» Pos (+) Red Lead
e




[image: image8.png]* Must have circuit power!

» Cannot Test more than 10a for 60 sec!

* Please put leads back to Volts/Amps
testing position when finished!

* Current runs through meter, think of it
as a counter.



[image: image9.png]



1

